[image: image1.jpg]mrcarpet

DESIGNS FOR FLOORS

I.





301 Munster Road
Fulham, London
SW6 6BJ
Tel: 020 7381 1989
Fax: 020 7385 6800
email: fulhambranch@mr-carpet.co.uk

Digital Hygrometer 
Before bonding a decorative floorcovering to a cementitious or synthetic anhydrite

screed base, it is essential that a moisture test be carried out to ensure that the base

is sufficiently dry to receive the selected floorcovering
Basis of Test

The hygrometer measures the Relative Humidity (R.H.) of a small volume of confined air in equilibrium with the sub-floor, but isolated from the surrounding air. The base can be considered dry enough to install most floorcovering if a series of tests produce readings not exceeding 75% R.H.

Test Procedure

Ensure that any artificial aids used to accelerate the drying & underfloor heating systems are turned off for at least 4 days before readings are taken. The floor should be swept / vacuumed to remove any dust.
Use the butyl tape provided to make an airtight seal around the base of the insulating

box containing the instrument and position it onto the subfloor. The instrument

must remain switched off until the unit becomes conditioned for use. If the tape is

not available, then a waterproof, water free non-setting putty or similar can be used.

Where there are uneven floors, it may be necessary to apply two layers of butyl tape

or non-setting putty to provide an adequate seal. Once sufficient time has elapsed to allow entrapped air to reach moisture equilibrium with the screed or base, the unit can be switched on (Usually 2 – 3 hours after placement). 
For 50mm thick screeds, where the damp proof membrane is placed between the base

and the screed, a period of at least 4 hours should be allowed before the first reading

is taken. Equilibrium can be assumed either when two consecutive readings taken at 4 hourly

intervals show no change, or if the instrument is left in position overnight.

For thicker constructions i.e. where the damp proof membrane is placed below the

base slab, a period of 72 hours should be allowed to elapse before the first reading.

Equilibrium can be assumed when two consecutive readings taken at 24 hour intervals

show no change. Constructions with a thickness greater than 200mm can take longer

than one week before moisture equilibrium is established.
To minimise the time required for the instrument to be sealed to the floor, the

following technique can be applied: Cover the positions to be measured with

impervious mats (e.g. polythene sheet, rubber mats etc.) of not less than 1m x 1m,

taped to the floor at their edges. Leave in position for at least 3 days for screeds and

7 days in the case of thick constructions. After removing the mat, immediately seal

the instrument to the centre of the previously covered area. Moisture equilibrium

is usually attained within 2 – 4 hours of placing the instrument but should be left

overnight for confirmation.

[image: image2.jpg]mrcarpet

DESIGNS FOR FLOORS

I.





301 Munster Road
Fulham, London
SW6 6BJ
Tel: 020 7381 1989
Fax: 020 7385 6800
email: fulhambranch@mr-carpet.co.uk

Hygrometer Reading Report

(To Be Filled Out By Customer)

Customer Name: ______________________________________

Job Number: __________________________________________

Date Hygrometer Installed: _________/_________/_________

**PLEASE SWITCH THE MACHINE ON 2 - 3 HOURS AFTER IT HAS BEEN INSTALLED**
	Date
	Time of Reading
	Current Reading 
	Highest
	Lowest
	Floor Temp

	12/7/09
	9am
	75%
	80%
	72%
	18º

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	


Example

Once consecutive readings have been achieved at the required intervals (refer to Test Procedure for details), please contact the showroom to arrange collection of the hygrometer and this Hygrometer Reading Report.
WATERPROOF SURFACE MEMBRANE SELECTION

Where R.H. values are between 75 – 92% a single coat of STOPGAP F76 or F76 HP

Waterproof Surface Membrane can be applied.

For R.H. values greater than 92%, providing the base is visibly dry, a two coat

application of STOPGAP F75 Waterproof Surface Membrane should be used.

Alternatively, the use of the ‘loose laid’ STOPGAP ISOLATOR MEMBRANE should be

considered, for appropriate floorcoverings.

See individual product technical data sheets on the above mentioned products for

further information.
