[image: image1.jpg]mrcarpet

DESIGNS FOR FLOORS

I.





301 Munster Road

Fulham, London

SW6 6BJ
Tel Nr:
020-7381-1989



 Fax Nr:
          020-7385-4006
Email:
fulhambranch@mr-carpet.co.uk
Where carpets are to meet tiled flooring which is considerably higher than the combined thickness of the carpet & underlay (usually around 20mm), we suggest that a wooden threshold be installed which can be tailor made to make the transition between the different levels.

Our fitters do not undertake this work, therefore we suggest that the thresholds be made & installed by a qualified builder / carpenter prior to the carpet installation.
Wooden threshold Profile

 (A)[image: image2.jpg]


(B)

 (C)
Dimensions

A 
- Tile side = Depth of tile / Adhesive & Under Boarding
B 
- Carpet side = 10-15mm depending on thickness of carpet & underlay.
C 
- Width of door jam, however this can be varied to suit client preference 
Typical threshold
[image: image3.jpg]



