Remedial Work
Supply labour and materials to replace 1 missing stair nosing as instructed
Please Note

The existing stair nosings are fitted too far forward (see photo attached) which is why they keep coming loose / falling off. We strongly recommend that you take steps to have ALL of the existing stair nosings replaced throughout the blocks as soon as possible as the existing stair nosings are extremely hazardous in their current state
Fitting Date

Thursday 24th March 2011
Full payment due within 30 days from date of invoice
