Cleaning Instructions for Westex Carpets Ltd


In order for you to get maximum performance from your carpet we would like to advise you of the best maintenance for our contract carpets. Westex Carpets Contract Carpet has been constructed for many years’ use and the correct maintenance will ensure no problems will occur with either the appearance or performance of the carpet.

Contents

1.
Recommended cleaning methods




Page 2

2.
Soil preventative actions





Page 2

3.
Vacuum cleaning






Page 3

4.
Cleaning at intervals


a) The Chem-Dry method





Page 3


b) Combi cleaning






Page 4


c) The extraction method





Page 4


d) Dry cleaning







Page 4

5.
Basic cleaning










e) The Chem-Dry method





Page 5


f) Combi cleaning






Page 5

6.
Treatment







Page 6

7.
When the cleaning is finished





Page 6

8.
Stain Removal


a) First aid







Page 7


b) Stain Removal Guide






Page 8, 9, 10

9.
Description of cleaning agents





Page 11

1. Recommended cleaning methods

The following list is a guide for the types of cleaning methods that can be used for good carpet maintenance. If special conditions apply the procedures should be adapted accordingly.

TRAFFIC INTENSITY              LOW TRAFFIC                   MEDIUM TRAFFIC               HEAVY TRAFFIC
Room Types                            Offices with few persons     Office Areas.corridors,         Entrances, Enquiry offices

                                                Meeting rooms,depots        library’s, clinics                      offices, shops, canteens

ANTISOILING

MEASURES

Scraper Mats                           NO                                        NO                                       YES

Barrier Mats                             NO                                        YES                                     YES

EASY CLEANING

Vacuum Cleaning                    once per week                      3 times a week                    Daily

Stain Removal                         as required                          as required                            as required

CLEANING AT                        Once per Year                     Twice per Year                      3 – 4 Times Year
INTERVALS

Chem-Dry Method                  YES                                       YES                                      YES
Combi – Cleaning                   YES                                       YES                                      YES

Extraction Method                   WITH PROVISO                   WITH PROVISO                   WITH PROVISO
Dry Cleaning                           WITH PROVISO                   WITH PROVISO                   WITH PROVISO

2. Soil preventative actions

Prior to installation it is important to establish an effective cleaning zone in order to stop the ingress

of dirt and soil. This will protect the floor covering and reduce the cleaning costs.

The cleaning zone from outdoor areas should start with scraper mats in order to stop the drag-in of

coarse particles. After this a barrier mat will absorb moisture and smaller particles. This should also

be placed at high traffic points such as e.g. between factory and office, between kitchen and

restaurants and also in the elevator area.

The most efficient cleaning zone should have a length of at least 5 metres. You should vacuum-clean the cleaning zones daily with a rotating brush and ensure that basic cleaning is made at regular intervals in order to maintain a maximum absorption of moisture and dirt.

3. Vacuum cleaning

The purpose of vacuum cleaning is to remove all loose dirt types and dust. Entrances and corridors should be vacuumed daily even though the areas are not visibly dirty. Plan the vacuum cleaning in order that high traffic point areas are vacuum-cleaned most often.

Vacuum cleaners mounted with a rotating mouth brush are recommended. The mechanical effect of the brushes is effectively loosening dirt and particles from the pile.

Filter: Use a vacuum cleaner with a good and efficient HEPA-micro filter system in order to be able to remove fine dust and maintain a good indoor climate. The HEPA filter system which has been developed in co-operation with the Asthma and Allergy Association extracts 99,997% of pollen, dust, animal scales and other particles.

Recommended vacuum cleaners: Use a vacuum cleaner with an effective absorption capacity. The vacuum cleaner should have an effective micro filter system in order to be able to remove fine dust and maintain a good indoor climate

4. Cleaning at intervals

Can be regarded as a less thorough cleaning where the appearance of the carpet is freshened up at

regular intervals. Cleaning at planned intervals is also an excellent cleaning method for carpets with

light or medium soiling. This type of cleaning involves the methods and procedures described as:

a. 
Chem-Drymethod

b. 
Combi - cleaning

c. 
Extraction method

d. 
Dry-cleaning

a. The Chem-Dry method is used as cleaning at intervals by brushing a hot (60-75 degrees) pH neutral heavy carbon dioxiding aqueous solution which is subsequently absorbed and dried with a cotton disc.

Advantages :


extremely efficient cleaning


small quantities of water


no soaking of the backing


no use of chemicals


the dirt is mopped from the carpet pile


short drying time (typical 1 hour)


minor risk of mistreatment


method and agent with a minimum load on the indoor climate


the carpets keep clean longer as there are no remaining concentrations of dirt attracting soap 
or chemicals.

Procedure: Vacuum cleaning - spraying of carbon dioxide solution - absorption of dirt and moisture with cotton discs - possibly stain removal - drying. 

b. Combi - cleaning used as cleaning at intervals by cleaning with vapour in a custom-built brushing machine (Lux Professional). Two reverse rotating brushes loosen the dirt which together with the

cleaning water is lead via a conveyor belt into a drain tank. The machine uses small quantities of vapour / water which results in short drying times.

**Instead of vapour clean water can be used which however, will increase the drying time**

Advantages :


very efficient cleaning


small quantities of water


no soaking of the backing


no use of chemicals


short drying time (typical 1-2 hours)


minor risk of mistreatment


method and agent with a minimum load on the indoor climate


the carpets keep clean longer as there are no remaining concentrations of dirt attracting soap


and chemicals.

Procedure : Vacuum cleaning - brushing treatment - possibly stain removal - drying.

4. Cleaning at intervals (cont.)

c. The extraction method is carried out by spraying a cleaning solution into the carpet pile. After a short period of action a rinse with clean water is made and absorption of the cleaning solution and dirt.

Advantages:


moderately effective cleaning


The use of an extraction machine alone gives good removal of loose dirt but may not remove 
more difficult stains.

Disadvantages:


larger quantities of water required


longer drying times required (typical minimum 24 hours)


risk of mistreatment


the use of a cleaning solution (chemicals)


risk of remaining concentrations of dirt attracting soaps and chemicals

Procedure : Vacuum cleaning - spraying of cleaning solution - short wait - 2 - 3 times rinsing with

clean water and absorption - ending with 1-2 times absorption - drying.

d. Dry-cleaning is an alternative cleaning method which can be applied where there is no time for the

carpet to be allowed to dry before being walked on again.

Advantages :


moderately effective cleaning of visible dirt


no drying times


the carpet can be taken into use immediately after cleaning.

Disadvantages :


Dry-cleaning can have an influence on the air quality during and after having being carried out


effective air circulation is a must.


Immediately after dry-cleaning small quantities of the dry-cleaning agent may be left in the
carpet which demands repeated vacuum cleanings before they are fully removed.

Procedure: Vacuum cleaning - pre moisten with pre spray - spread the dry cleaning agent - brushing - drying - vacuum cleaning with a mouth brush.

5. Basic cleaning

The purpose of the basic cleaning is to achieve a more thorough cleaning of the carpet. The method

is used for periodic cleaning where the carpet has become somewhat or very dirty. The basic cleaning can be carried out by using methods and procedures described in the following as:

e. 
Chem-Drymethod

f. 
Combi-cleaning

e. The Chem-Dry method used as basic cleaning by means of the PowerHeadTM AXT technique which injects a 60-75 degree hot pH-neutral heavy carbon dioxiding aqueous solution through 550 jets per minute. The carpet is at the same time manipulated with 550 mechanical steps per minute. Absorption is made with a combination of heavy vacuum through 5000 suction planes per minute and a mechanical fluid flow through the carpet. After this the pile can be dried with a cotton disc if necessary.

Advantages :


extremely efficient cleaning


small quantities of water

thorough but no soaking of the backing


no use of chemicals


the dirt is mopped up from the carpet pile


short drying time (typical 1-2 hours)


minor risk of mistreatment


method and agents with a minimal load on the indoor climate


the carpets keep clean longer as there are no remaining concentrations of dirt attracting 

soaps and chemicals.

Procedure : Vacuum cleaning - spraying of a carbon dioxide solution and absorption of dirt is made during one work routine - possible drying with cotton discs - possible stain removal - drying.

f. Combi-cleaning used as a basic cleaning method by cleaning with vapour from a custom-built brushing machine (Lux Professional). Two reverse rotating brushes loosen the dirt which together with the cleaning water is lead via a conveyor belt up to a drain tank. The machine uses small quantities of vapour / water which result in short drying times. 

** In case of heavily soiled areas water can be used instead of vapour with a small quantity of low-foaming carpet cleaning agent added.**

After rinsing with clean water, absorption with an extraction machine might be necessary in heavily soiled areas. The use of water, however, will prolong the drying time. 

Advantages:


very effective cleaning


small quantities of water


no use of chemicals


short drying time (typical 1-2 hours)


minor risk of mistreatment


method and agents with a minimum load on the indoor climate


the carpets keep clean longer as there are no remaining concentrations of dirt attracting 

soaps and chemicals.

Procedure: Vacuum cleaning - brushing - (rinsing with water - absorption with the extraction

machine) - possible stain removal - drying.

6. Treatment

Your Westex Carpet has been treated against soil and stains at the factory. The treated is cured during manufacture of the carpet which secures good resistance to wear and cleaning. The Guardsman treatment used will last throughout the life of the carpet.

7. When the cleaning is finished

Check the carpet for possible remaining stains which were not removed during the cleaning process

and treat them accordingly.

Do not walk on the carpet again before it is completely dry. The carpet also has to be quite dry before

furniture is put back in place as chair legs and similar may rub off on the wet carpet.

8. Stain removal

Usually stains emerge after spillage's or by setoff from soles of the shoe. The stains should be removed immediately. No matter which type of carpet you have chosen the following “first aid”

should be a good guidance.

a. first aid

1
Remove loose dirt. In case of fresh stains remove first loose remains and spilled fluid should be absorbed with a dry cloth or white paper towel. Do not rub but dab the stain away. Dried-up or concentrated stains are treated with a brush and vacuum cleaner.

2 
Dissolve with lukewarm water. Lukewarm water - without soap, detergent or the like - will be the next step. Dab carefully the area with a wet cloth and absorb as much of the moisture as possible by “dabbing” with a dry cloth. Then sprinkle with corn starch and leave it to dry for 24 hours before it is vacuum cleaned.

3 
Carpet stain remover. If water is not sufficient to dissolve the stain go on with a universal stain remover. See the instructions on the packing. In order for the stain not to spread or to be pressed deeper into the carpet the stain remover has to be removed again by “dabbing”. Remember to dab with clean water and afterwards dab with absorbent material in order to remove all residues for the carpet stain remover.

4 
Use special agents. If none of the three above steps of the “first aid” function are successful treatment with special agents is required. Generally always observe the directions for use and dosage carefully and never treat humid areas leave them dry first. If there are rims after the treatment the carpets is generally dirty and need to be cleaned. And if the stain emerges again 
there are either residues of the carpet stain remover or of the stain. Then you will have to treat the area again as described under step 3.

The first time a cleaning agent or stain remover has to be used on a carpet it must to be examined to establish whether the agent is harmful to the carpet. Damages may occur as a consequence of colour bleed, discoloration, bleaching or dissolution. It is recommended to test the stain remover in an inconspicuous area (in a corner, under a radiator or the like). The test is to be made according to the prescribed dosages and action times.

Important

Always work on the spot from the outer edge towards the middle. To avoid the cleaned area becoming rapidly soiled again ensure good rinsing and removal of the remaining stain remover. When removing stains from larger areas the use of an extraction machine is recommended. The faster action is taken towards stains the bigger chance of removing the stain with a good result. Please note that some types of stains are very difficult to remove and that such stains will be more visible on a light, plain coloured carpet than on a darker and more patterned carpet. Some types of stains e.g. coffee, tea, soft drinks and red wine may still be visible after cleaning with a universal stain remover or a special agent because of colour residues. Such colour residues can often be removed with a special bleaching product with success. (see under the description of special agents immediately after the stain removal guide).

WARNING !

NEVER use chlorine-containing products as there is a risk of bleaching the carpet.

b. stain removal guide.

	STAIN
	CLEANING ADVICE

	 Alkyd paint
	Absorb immediately with a cloth damped with turpentine. Old stains cannot be removed.

	Asphalt
	Soften the stain with margarine for approx. 12 hours. Then remove the stain with as little benzene as possible.

	Ball pen
	Dab with a cloth damped with spirit. 

	Beer
	Damp the stain with a stain remover. Dry with water and a dry cloth. 

	Beetroot juice
	Absorb immediately as much as possible of the stain with kitchen paper or a dry cloth. Then wash the stain with a cloth rinsed in lukewarm water. Keep on until no more colour can be removed. In case of dried stains these are first softened with a stain remover after which the stain is washed off with a cloth rinsed in lukewarm water. Remaining colour residues are bleached with HelpMate or 3% peroxide

	Blood
	Absorb immediately and dab with a cloth rinsed in water added 2 teaspoonful salt per litre water.

	Butter
	Scrape off or absorb as much as possible. Dab carefully with a cloth damped with kerosene. The treated area can bulge for a while if the carpet is not fully adhered.

	Cellulose varnish
	Dab with a cloth damped with acetone. 

	Chewing gum
	Put a bag with ice on the stain to harden it. Scrape off as much as possible of the stain. Dab with a cloth damped with gasoline.

	Chocolate and chocolate ice-cream
	Damp a cloth with kerosene and dab the stain until you cannot remove any more colour. The treated area can for a short while bulge if the carpet is not fully adhered.

	Chocolate, drinks
	Damp a cloth with kerosene and dab the stain until you cannot remove more colour. The treated area can for a short while bulge if the carpet is not fully adhered.

	Cocoa and chocolate drinks
	Damp a clean cloth with kerosene and dab the stain until no more colour can be removed. The treated area can for a short while bulge if the carpet has not been fully adhered.

	Coffee
	Absorb immediately as much as possible with kitchen paper. Then wash off the stain with a cloth rinsed in lukewarm water. Keep on until no more colour can be removed. In case of dried coffee stains these are first to be softened with a stain remover after which the stain is washed off with a cloth rinsed in lukewarm water. Remaining colour residues can be bleached with HelpMate.

	Cola
	Absorb immediately as much as possible of the stain with kitchen paper or a dry coth. Then wash off the stain with a cloth rinsed in lukewarm water. Keep on till you cannot remove more colour. Remaining colour residues can be bleached with HelpMate or 3% peroxide

	Cooking oil
	Scrape off or absorb as much as possible. Dab carefully with a cloth damped with kerosene. The treated area can for a short while bulge if the carpet has not been fully adhered.

	Crayon
	Damp a cloth with spirit and dab the stain. 

	Cream
	Scrape off or absorb as much as possible. Dab carefully with a cloth damped with kerosene. The treated area can for a short while bulge if the carpet is not fully adhered.

	Dessert wine
	Absorb immediately as much of the stain as possible with kitchen paper or a dry cloth. Then wash off the stain with a cloth rinsed in lukewarm water.

	Egg
	Dry as much as possible. Damp the stain with a stain remover and dab with a cloth rinsed in lukewarm water with a little ammonia added. Use ½ dl. 8% ammonia for 2 ½ litres of water. Dab with clean water and after that with dry cloths.

	Faeces
	Damp the stain with equal portions water and domestic vinegar. After 10 minutes dab with humid and dry cloths by turns. Dab with water diluted with a disinfectant 

	STAIN
	CLEANING ADVICE

	Fruit juice
	Absorb immediately as much as possible of the stain with kitchen paper or a dry cloth. Then wash off the stain with a cloth rinsed in lukewarm water.

	Fungicide
	If the fungicide is water-based the stain is to be cleaned with a cloth slightly rinsed with water. If the fungicide is alcohol-based the stain is cleaned with a cloth damped with household alcohol.

	Grass
	See coffee. 

	Gravy
	Scrape off or absorb as much as possible. Dab carefully with a cloth damped with kerosene.

	Grease
	Scrape off or absorb as much as possible. Dab carefully with a cloth damped with kerosene. The treated area can for a short while bulge if the carpet is not fully adhered.

	Ice
	Damp a cloth with kerosene and dab the stain until no more colour can be removed. 

	Ink
	On synthetic carpets absorb immediately with a cloth damped with 8% undiluted ammonia water. On carpets containing wool dab with a cloth damped with water.

	Juice
	Absorb immediately as much as possible of the stain with kitchen paper or a dry cloth. Then wash off the stain with a cloth rinsed in lukewarm water.

	Ketchup
	Absorb immediately as much of the stain as possible with kitchen paper or a dry cloth. Then wash off the stain with a cloth rinsed in lukewarm water.

	Lipstick
	Damp a cloth with kerosene and dab the stain until no more colour can be removed. The treated area can for a short while bulge if the carpet has not been fully adhered.

	Liqueur
	Damp the stain with a cloth rinsed in lukewarm water and absorb with a cloth. 

	Lubricating oil
	Damp a cloth with kerosene and dab the stain immediately until no more colour can be removed.

	Mascara
	Damp a cloth with kerosene and dab the stain. The treated area can for a short while bulge if the carpet has not been fully adhered. If there is still a remaining colour residue it is possible to bleach the stain with HelpMate or 3% peroxide.

	Milk
	Absorb as much as possible. Damp the stain with a stain remover and dab with a cloth rinsed in lukewarm water with ammonia added to it. Use ½ dl. 8% ammonia to 2½ l water. Dab with clean water and after this with dry cloths.

	Motor oil
	Damp a cloth with kerosene and dab the stain immediately fill no more colour can be removed.

	Nail polish
	Dab with a cloth damped with acetone. 

	Oil - black lubricating oil
	Damp a cloth with kerosene and dab the stain immediately until no more colour can be removed.

	Paint
	See alkaloid or plastic paint. 

	Paraffin
	Remove as much as possible with e.g. a blunt knife. Damp a cloth with kerosene and dab 

	Pen for Indian ink on water base
	Damp a cloth with spirit and dab the stain. Pen for Indian ink on spirit base Absorb immediately as much of the stain as possible with kitchen paper or a dry cloth. Then clean off the stain with a cloth rinsed in lukewarm water. Keep on until no more colour can be removed. Remaining colour residues can be bleached with HelpMate or possibly 3% peroxide.

	Red wine
	Absorb immediately as much as possible with kitchen paper. Then wash off the stain with a cloth rinsed in lukewarm water. Keep on until no more colour can be removed. In case of dried stains these are first softened with a stain remover after which the stain is washed off with a cloth rinsed in lukewarm water. Remaining colour residues are best bleached with HelpMate or possibly 3% peroxide.

	Resin
	Dab carefully with a mixture of equal parts of turpentine and spirit. 

	Rust
	Damp the stain with a stain remover and leave for a couple of hours. Dab with a dry cloth and dab with clean water.

	Shoe polish
	Damp a cloth with kerosene and dab the stain. In case of a colour residues it is possible to bleach with HelpMate or possibly 3% peroxide .

	
	

	STAIN

	CLEANING ADVICE

	Soft Drinks
	Absorb immediately as much as possible of the stain with kitchen paper or a dry cloth. Then wash off the stain with a cloth rinsed in lukewarm water. 

Absorb immediately as much as possible of the stain with kitchen paper or a dry cloth. Then wash off the stain with a cloth rinsed in lukewarm water. Remaining colour residues can be bleached with HelpMate or possibly 3% peroxide. 

	Soot
	Damp a cloth with kerosene and dab the stain. If there are still colour residues left it is possible to bleach with HelpMate or possibly 3% peroxide.

	Street dirt
	Leave the stain dry and vacuum-clean the carpet. 

	Tar
	Soften the stain with margarine for 12 hours. Then remove the stain with as little gasoline as possible.

	Tea
	Absorb as much as possible with kitchen paper. Then wash off the stain with a cloth rinsed in lukewarm water. Keep on until no more colour can be removed. In case of dried in stains these are first softened with a stain remover after which the stain is washed off with a cloth rinsed in lukewarm water. Remaining colour residues can be bleached with HelpMate or possibly 3% peroxide.

	Urine
	Damp the stain with equal parts of water and vinegar. After 10 minutes dab by turns with humid and dry cloths. Dab with water with a disinfector added.  Follow instructions as to how much to use. Remaining colour residues can be bleached with HelpMate or possibly 3% peroxide.

	Vomit
	Damp the stain with equal parts of water and vinegar. After 10 minutes dab alternately with humid and dry cloths. Dab with water with a disinfectant.

	Wax polish
	Clean the stain with a cloth damped with turpentine. The pile will paste if left too long.

	White wine
	See red wine. 

	Wine
	See red wine or liqueur 

	Wood preservators
	Absorb immediately with a cloth damped with turpentine.


9. Description of cleaning agents

STAIN REMOVERS :

Acetone:
Is very inflammable, Do not inhale the fumes.

Gasoline:
Use cleaned gasoline. Gasoline is very inflammable.

Peroxide:
A 3% solution can possibly be tried as an alternative bleaching agent to HelpMate - 

the latter is, however, more effective.

HelpMate:
Is an effective bleaching agent for removal of remaining colour residues after stain



removal. Is particularly suitable for bleaching coffee, tea and red wine.

Vinegar:
See vinegar. Vinegar irritates eyes and skin.

Spirit:

Methyalated spirit, ethanol. Spirit is very inflammable.

Kerosene:
Choose odourless. Kerosene is inflammable and may leave a greasy stain which, 

however, will evaporate after a short while. PLEASE NOTE! The treated area can 

bulge for a while if the carpet is not fully adhered.

Ammonium:
The chemical name is ammonium water but in the trade you usually meet the name 

ammonium.

Turpentine:
White spirit. Is very inflammable and dangerous to inhale. Turpentine may leave a 

greasy stain which will, however, evaporate after a while.

OTHER CLEANING AGENTS:

a) the carbonic acid method

NaturalpH-neutral, heavy carbonic acid producing aqueous solution containing minerals and adjusted with amino acid. Does not contain soap, enzymes, phosphates or solvents.

b) the Combi-cleaning method

Vapour or clean water for normal cleaning at intervals.

c) the extraction method

Taski TR 103 is an aqueous low-foaming cleaning agent containing tensides. pH in a 10% solution is

ca. 6-8.

d) dry-cleaning

Capture is a dry-cleaner consisting of absorbing particles damped with water and a cleaning agent.

Host is a dry-cleaner consisting of absorbing particle damped with water, cleaning- and solution

agents.

e) the carbonic acid method

NaturalpH-neutral, heavy carbonic acid producing aqueous solution containing minerals and

adjusted with amino acid. Does not contain soap, tensides, enzymes, phosphates or solvents.

f) the Combi-cleaning method

Vapour or clean water when basic cleaning slightly soiled areas. Taski TR 103 is added to the water in especially soiled areas. The product is an aqueous low-foaming cleaning agent containing tensides. pH in solution is ca. 6-8. See the instructions of the supplier before use.

Page 1 of 12

