	Ref 




Date

Dear  
Re: installAtion of marmoleum over Underfloor heating

Further to our recent telephone conversation, I would confirm that our Marmoleum sheet or tile linoleum is suitable for installation in conjunction with underfloor heating subject to the following conditions:

1. The subfloor should meet the requirements of and be specified, installed and prepared in accordance with the recommendations of BS8203.

2. The normal operating temperature of the system should not exceed 27(C.

3. The Heating system should be turned off 48 hours prior to the installation of the Marmoleum and not turned on until at least 48 hours after installation. Peak temperature should be avoided for a further seven days.

4. All other installation procedures and conditions should be in accordance with our recommendations and BS8203.

I trust that the above answers your question, but should you require any further information please do not hesitate to contact the undersigned.

Yours sincerely

for and on behalf of Forbo flooring

