INSTRUCTIONS FOR REMEDIAL WORKS TO AREAS AT 5 THORNTON HILL, SW19.
Study on ground floor.

The original carpet and underlay as been lifted and is now untidy at the doorway and the adjacent wall.

Stick square edge doorbar against metal trim and gripper to replace missing.

Refit loose carpet.

First floor landing right.

There is a small protrusion that can be felt through the carpet. The position is in the narrower section in front of the bathroom.
Lift back the carpet and underlay, remove the problem, refit the carpet.

Bedroom 3 on the first floor.

This room has suffered a water leak through the ceiling and the hardboard has blown. Lift back the carpet and underlay, re-secure the board so it lies flat and then refit carpet and underlay. Stretch tight to take out looseness.
