Alan
R16670 Simmons
It is important that the landing is fitted first and all the other areas are then seamed on. The reason being is I want to avoid a restretch at a later date when the underfloor heating comes on. This is the way I have explained it to the customer so this procedure must be followed.
I am hoping that the main landing section if netted off the glass wall looking over into the void will make the return wall. Please see the plan for the position of the join. The net measurement is 4.97m so it is tight but hopefully there will be enough to trim the edge for a good seam. If you have too bring it across a bit, it will mean seaming on a filler parallel to the glass wall. I would rather avoid this if at all possible.
The customer has requested no doorbars so it is carpet to carpet joins in all the doorways. You should bring the carpet through into the passage and seam on the narrow section. The overall length from the landing door to the wood floor opposite is 5.15m so by bringing it through it will eliminate a seam at the end of the passage.

Chrome tile bars are to be fitted to ceramic and wood finishes and I have allowed some 6mm ramps should you need them.
Faris, is the site agent and he will provide labour to help lift carpets into position.

He wishes to keep snagging the paintwork to a minimum. Please ask him if you need help.

There is coir matting to fit in the kitchen and the main entrance hall and on the

covered lobby outside the front door.
Any queries then call me.

Mike 07786-017560.
