REPORT ON INSPECTION OF DEBUT TWIST FITTED TO BEDROOMS, LANDINGS AND STAIRS AT 29 RICHMOND ROAD, OXFORD.
Top floor bedroom.
Comment:

The platform stairs down into the room are awkward to dress properly and the fitter has improvised but the finish is unattractive and untidy.

Solution:

The architect will instruct the carpenter to remove the carpet, underlay and gripper in order to carry out additional work to the design of each step by extending the half round detail. This will allow the carpet to be pinned under the overhang in cap and band fashion. A stringer will also be fixed to eliminate the plasterwork finish which comes down to the floor line. There is carpet on site that can be used to replace the original but allow for underlay and gripper.
Study.

Comment:

The carpet is coming away from the underside of the half round detail and close inspection confirms that there are no fixing pins at all. The fitter has used only spray adhesive which has insufficient strength to hold properly.

Solution:

Fitter to pin at regular intervals both sides of the overhang.

Stairs.

Comment:

The client is querying the tension on the upright surface and feels that it is too loose.

Solution:

Fitter to re-tighten all stairs from top floor to basement level. The shaped step on the flight from the first floor landing requires the same remedial treatment as the study.
Main bedroom, hallway and stairs from ground to first.

Comment:

These have been marked with probable oil based substance. It is unlikely that this can be removed without altering the appearance of the pile texture.
Solution:

Provide estimates to replace the affected areas with the same.
