Karina Murphy 
Measure S35731

Wednesday 13-08-2025

Open plan Kitchen diner, with new extension with UFH underneath 

Original section of floorboards 

PLEASE TAKE CLASSIC OAK BOTH ROOTS 40 24837 or 24235 WANTS LONGER PLANK FYI
NOTE at the connection, floor is uneven, not by much would screed / feather finish assist height variance PLEASE ADVISE 
New extension has no skirtings wants to fit floor over that, I advised its best to fit dry back up to skirting boards

At the island fitted a waterfall is being fitted, can you please confirm the connection of the plank at this point  

Kitchen fitted FYI, with built in appliances 
EXCEPT PLEASE NOTE Free Standing Fridge, a Kitchen Range as well, possibly one more item please check on visit 
Note Bi folding doors have been fitted with the frame raised to 8.5mm (NOT ADJUSTABLE) FYI originally, they were going to use Kortek click which was very thick /// Can you advise clearance of the Moduleo plus sub floor will be not leave a huge gap 

I explained a dry back is a much better anchorage than click, and in fact Moduleo had discontinued there click range, for the locking system of Lay red

Karina had mentioned possibly using Lay red, limited colour bank   
