
	D Guyan



21st June 2007
Re Public Liability Claim 

Mr Carpet Order No F18985 – Marianne Hope 66 Langthorne Street SW6 6JX

Areas installed by Floor Layer Mr M Kershaw were Bathroom WC & Rear Hallway
Installation of Plywood sub-floor preparation & cushion vinyl floor covering was undertaken on 15th March & 16th March 2007.

On Saturday 12th May Miss Harsha Patel the tenant/occupant of the lower flat at 66 Langthorne street SW6 contacted Ms Marianne Hope owner of the upper flat to advise that water had leaked from the upper flat bathroom through the ceiling causing damage to her property.
On the same day 12th May a representative from Mr carpet (Mr P Southam) inspected the problem and it was evident that in securing the plywood sub-floor of the upper flat, that three screws had passed beyond the depth of the floorboards and one of them had made contact with a copper pipe now known to be the feed for the central heating.

Contact numbers 

Ms M Hope 1 Cromer Road London SW17 9JN 

Contact Numbers Office 020-7956-3126 or 07974-310535


