[image: image1.jpg]B | mrcarpet

. DESIGNS FOR FLOORS





Instructions for cleaning Gullies outside unit 32

Due to carpet fluff and rubbish getting washed down the gulley regular cleaning is required to stop the drains blocking and unit 32 flooding.

Please ensure the following procedures are carried out when cleaning these gullies. This will ensure the safety of staff and visitors during this process.
1. Cleaning the gullies between 2 – 4 pm is usually when the deliveries and traffic to the warehouse are at the lowest.

2. Position the forklift truck approximately 1m away from the gulley across the entrance on the outside of the building as a barrier for people entering.
3. Remove the grills a few sections at a time starting from the corner of the building and remove any loose debris.

4. Replace grills and move along the gulley towards the central outlet repeating the above procedure ensuring all the grills are replaced as you go.

5. Finally flush the gulley with water.

Under NO CIRCUMSTANCES should the gulley be left unattended with the covers removed.  If you are called away in the middle of the job replace ALL GULLIES before moving fork lift.
