Improvements to health & safety since previous visit

Material improvements

1. 1st rack on left hand side dismantled. (Not yet replaced)

2. All waste carpets stored overhead of “Tunnel” between racks in middle of warehouse removed and make shift racking dismantled.

3. Major cause of damage to racking identified as additional space required for handling 5m long rolls now stocked in greater depth.

4. Racks in middle of warehouse on left hand side dismantled, moved 1.20m further forward to allow space for handling and bolted to floor on reassembling to stabilise.

5. ALL members of warehouse staff professionally trained and licenced to drive both fork trucks. 

6. 5m rolls moved to left hand side at rear by improved access areas.

7. Electrician employed to overhaul electrical system and all warehouse lighting replaced with new installation.

8. Nu Swift fire equipment called in to overhaul fire extinguishers and additional fire extinguishers purchased & subject to annual contract for review.

9. First aid boxes and emergency instructions installed.

10. Floors cleaned and sealed and painted with floor paint.

Administrational improvements

1. Safety policy statement issued.

2. Accident book instigated

3. Specific Staff appointed for first aid and health and safety and warehouse staff advised of chain of command.

Future Improvements for 2002

1. 5m Rack to be purchased and installed in 1st rack on left hand side location.

2. Rack to middle right hand side of warehouse to be dismantled and re assembled bolting units to floor.

3. Safety protection bumpers to be fitted to sides of “tunnel” and corner protectors to be made and installed to ALL external corners of racking.

4. Monthly health and safety checks to be included in warehouse managers monthly bonus scheme (to be implemented in September 2002).

5. Twice annually floors to be re-sealed and re-painted. 

