S35138 Diviney

Thursday 12th December 2024

- Add patch of underlay at junction with Kitchen Floor (piece of underlay is missing here!)

- Move doorbar to En-Suite so it will all sit beneath the pocket door as it is currently at an angle (customer has been advised that the door will likely need trimming)

- Gripper in Rear Sitting Room needs moving closer to skirting, re-locate this & re-secure carpet as necessary

- Use self-levelling compound (supplied previously) to smooth Top Landing, you had laid a patch of hardboard on a previous visit but this not appropriate as it has a harsh edge

- Re-stretch all areas as customer reports majority has loosened up

- Fit spare carpet (on site) to under stair cupboard WITH underlay

- Ensure site is clean & tidy before leaving